|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **TEST REPORT** | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | |
| **Purpose: To Determine the Average air Velocity & Air Changes per Hour at the work location in a clean room or clean air device** | | | | | | | | | | | | | |
| Client  Ref no  Area of Test | <Client>  <EquipmentId>  <AreaOfTest> | | | | | Plant  Date of Test AHU Number | | | | | <Plant>  <DateOfTest> | | |
| **Instrument Used** | | | | | | | | | | | | | |
| Instrument Serial Number  Calibrated on | <Type>  <SerialNumber>  <CalibratedOn> | | | | | Make Model  Calibration Due on | | | | | <Make> <Model>  <CalibratedDueOn> | | |
| **Obtained Test Results** | | | | | | | | | | | | | |
| Room Name / Number | Design ACPH | Grill/Filter Reference No. | Filter oc Area | ity Reading in FPM | | | | | Avg Velocity FPM | Air Flow CFM | Total Air Flow CFM | Room Volume CFT | Air Changes per Hour |
| Sqft. | 1 | 2 | 3 | 4 | 5 |
| <R1-Name> | <R1-DesignACPH> | <R1-ReferenceNumber> | <R1-FilterAreaSqft> | <R1-1> | <R1-2> | <R1-3> | <R1-4> | <R1-5> | <R1-AvgVelocityFPM> | <R1-AirFlowCFM> | <R1-TotalAirFlowCFM> | <R1-RoomVolume> | <R1-AirChangesPerHour> |
| <R1-ReferenceNumber> | <R1-FilterAreaSqft> | <R1-1> | <R1-2> | <R1-3> | <R1-4> | <R1-5> | <R1-AvgVelocityFPM> | <R1-AirFlowCFM> |
| <R2-Name> | <R2-DesignACPH> | <R2-ReferenceNumber> | <R2-FilterAreaSqft> | <R2-1> | <R2-2> | <R2-3> | <R2-4> | <R2-5> | <R2-AvgVelocityFPM> | <R2-AirFlowCFM> | <R2-TotalAirFlowCFM> | <R2-RoomVolume> | <R2-AirChangesPerHour> |
| <R2-ReferenceNumber> | <R2-FilterAreaSqft> | <R2-1> | <R2-2> | <R2-3> | <R2-4> | <R2-5> | <R2-AvgVelocityFPM> | <R2-AirFlowCFM> |
| <R3-Name> | <R3-DesignACPH> | <R3-ReferenceNumber> | <R3-FilterAreaSqft> | <R3-1> | <R3-2> | <R3-3> | <R3-4> | <R3-5> | <R3-AvgVelocityFPM> | <R3-AirFlowCFM> | <R3-TotalAirFlowCFM> | <R3-RoomVolume> | <R3-AirChangesPerHour> |
| <R3-ReferenceNumber> | <R3-FilterAreaSqft> | <R3-1> | <R3-2> | <R3-3> | <R3-4> | <R3-5> | <R3-AvgVelocityFPM> | <R3-AirFlowCFM> |
| <R3-ReferenceNumber> | <R3-FilterAreaSqft> | <R3-1> | <R3-2> | <R3-3> | <R3-4> | <R3-5> | <R3-AvgVelocityFPM> | <R3-AirFlowCFM> |
|  | | | | | | | | | | | | | |
| **Inference:** | The above test Confirms the Air flow Velocity and Air Changes per Hour as per the specified requirement | | | | | | | | | | | | |
|  | | | | | | | | | | | | | |
| **Test Conducted By** | |  | **Test Verified By** | | | | | | | | | | |
| For Airwin Services | | | For Shasun Pharmaceuticals Ltd. | | | | | | | | | | |