|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **TEST RESULTS** | | | | | | | |
| **S.No** | **Room Name** | **Eq./Room Area**  **(m2)** | **Location** | **Particle Count per cubic meter per minute** | | | **Result** |
| **0.5 µ and above** | **1 µ and above** | **5 µ and above** |
| 1 | PC1 | 1 | L1 | 3999 | 879 | 50 | Congress |
| 1 | PC1-2 | 1 | L2 | 19918 | 1778 | 1787 | Congress |
| 1 | PC1-3 | 1 | L4 | 16776 | 78 | 787 | Non Congress |
| L4 | 16716 | 16 | 616 |
| L4 | 512516 | 5655 | 6 |
| L6 | 676 | 676 | 67 |

|  |  |
| --- | --- |
|  |  |
| **Reference:** This test carried out in accordance with ISO – 14644-3 | |