|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **TEST RESULTS** | | | | | | | | | | | | | | | | |
| **S.No** | **Room Name** | **Eq./Room Area**  **(m2)** | **Location** | **Particle Count per cubic meter per minute** | | | | | | | | | | | | **Result** |
| **0.5 µ and above** | | | | **1 µ and above** | | | | **5 µ and above** | | | |
| **Cycle-1** | **Cycle-2** | **Cycle-3** | **Avg.** | **Cycle-1** | **Cycle-2** | **Cycle-3** | **Avg.** | **Cycle-1** | **Cycle-2** | **Cycle-3** | **Avg.** |  |
| 1 | PC3-2 | 1 | L3 | 5677 | 224 | 3354 | 3085 | 5677 | 224 | 3354 | 555 | 676 | 6787 | 6787 | 4750 | Non Complies |

|  |  |
| --- | --- |
|  |  |
| **Reference:** This test carried out in accordance with ISO – 14644-3 | |